## Worksheet 1
Instrument | Abbreviation | Wavelength, | Scattering angle, degrees | Nominal size range | Corrected size range, | Measurement
|  | nm | (primary, secondary) | measured, µm diameter | µm diameter | method
Passive cavity aerosol | PCASP | 632.8 | 35–120, 60–145 | 0.1–3.0 | 0.12–3.02 | Light scattering
spectrometer probe 100-X
Cloud Droplet Probe | CDP | 658 | 1.7–14 | 3–50 | 3.4–95.4 | Light scattering
Cloud Imaging Probe 15 | CIP15 | 642 | n/a | 15–930 | n/a | Light shadowing
Two-dimensional stereo probe | 2-DS |  | n/a | 10–1280 | n/a | Light shadowing
Cloud Imaging Probe 100 | CIP100 |  | n/a | 100–6200 | n/a | Light shadowing