## Worksheet 1
Symbol | Unit | Interval | Instrument | Measurement principle | Institution
CO | ppb | 1 min | AL5002, Aero-Laser, Garmisch-Partenkirchen, Germany | UV fluorescence | UBAe
CH4 | ppb | 1 mina | EnviroSense 3000i, PICARRO,Sunnyvale, USA | Cavity ring-down spectroscopy | UBAe
CO2 | ppm | 1 mina | EnviroSense 3000i, PICARRO,Sunnyvale, USA | Cavity ring-down spectroscopy | UBAe
O3 | ppb | 1 min | Model 49i, Thermo Scientific,Waltham, USA | UV absorption | UBAe
NOy,NOx | ppb | 1 min | CraNOx II, ECO PHYSICS,Dürnten, Switzerland | Chemiluminescence | UBAe
HCHO | ppb | 10 min | AL4021, Aero-Laser, Garmisch-Partenkirchen, Germany | Fluorometric Hantzsch reactionc | TUMf
222Rn | Bq m−3 | 2 h | Radon sphere 270, IGU, Wörthsee, Germany | Electrostatic deposition followed by alpha particle spectrometryd | DWDg
7Be | mBq m−3 | 12 h | Glass-fiber filter and pump, Tracerlab, Köln, Germany | Gamma spectrometry | DWDg
dN(dlog dp)−1 | cm−3 | 10 min | SMPSb model 3936, TSI Inc.,Shoreview, USA | Separation of charged particles inan electric field | TROPOSh
PM10 | µg m−3 | 1 min | FH 62 C14, Thermo Scientific,Waltham, USA | Attenuation of beta radiation | UBAe
eBC | µg m−3 | 1 min | MAAPb model 5012, ThermoScientific, Waltham, USA | Light attenuation and reflection by particle-laden quartz-fiber filters | UBAe