## Worksheet 1
Parameters | Instruments | Method | Sampling timeresolution
Aerosol particle number size distribution (0.3–20 µm) | GRIMM OPS 1.108 | Light scattering | 6 s
Total particle number concentration (>14 nm) | TSI CPC 3760 | Condensation/light scattering | 1 s
Aerosol spectral absorption | Magee AE42 | Seven wavelengths, light attenuation | 2 min
Dew point sensor | METEOLABOR, TPS3 | Chilled mirror | 1 Hz
Temperature | Thermocouple | – | 1 Hz
Data acquisition system | PC 104 + GPS | – | –
Power supply | Aircraft battery pack, LiFEPO4 battery | 12 V, >15 AH