## Worksheet 1
Instrument | Platform | Method (absorption parameter) | Wavelengths | Required conditions
4STAR (+SSFR) | P-3 | AERONET-like sky scans | hyperspectral; | instrument below aerosol;
|  | (AAOD)1,2,13 | evaluated using AOD | level flight leg; cloud-free
|  |  | and radiances at 400, | above
500, 675, 870, 995 nm
SSFR (+4STAR) | P-3 | profiles of spectral | moderate spectral resolution; | radiation wall/square
|  | irradiance and AOD used | evaluated at 355, 380, 452, | spirals above/below
|  | with a radiative transfer | 470, 501, 520, 530, 532, | aerosol layer
|  | model (RTM)3,4 | 550, 620, 660 nm
PSAP + neph | P-3 | in situ nephelometer (scattering) | neph: 450, 550, 700 nm | inside aerosol layer
|  | +PSAP (absorption)5,6 | PSAP: 470, 530, 660 nm
PTI + neph | P-3 | in situ nephelometer (scattering) | neph: 450, 550, 700 nm | inside aerosol layer;
|  | +PTI (absorption)7 | PTI: 532 nm | 30 s averages on PTI
RSP | P-3 | polarized reflectances input into RTM8 | I, Q, and U | instrument above aerosol
| + ER-2 |  | Stokes components
|  | neural network9 | in 410*, 469*, 555*,
670*, 864*, 960, 1594*,
|  | MAPP algorithm: optimal estimation | 1880, and 2264* nm
|  | method using multi-angle, multi- | (* denotes window channels
|  | channel total & polarized | used in the retrieval of
|  | reflectances (bimodal column | aerosol properties)
absorption/AAOD)10
RSP + | ER-2 | MAPP algorithm adapted to include | RSP window channels | instrument above aerosol
HSRL-2 |  | HSRL-2 observed backscatter & | + HSRL-2 channels at
|  | extinction profiles (vertically | 355, 532, 1064 nm
resolved absorption)11
AirMSPI | ER-2 | multi-angle, multi-spectral polarized | Stokes component I in bands | instrument above aerosol;
|  | radiance fitted by a RTM to derive | centered at 355, 380, 445, 470, | operated in sweep view
|  | above-cloud aerosol optical and | 555, 660, 865, and 935 nm; | mode
|  | microphysical properties which are | Stokes components Q and U
|  | used to calculate AAOD12 | in 470, 660, 865 nm bands
AERONET | ground | Sun radiance + multi-angular sky | 440, 675, 870, 1020 nm | cloud-free above instrument
radiances into RTM (AAOD)13