## Worksheet 1
Property | Satellite operation | Timescale
Dark current | Pointing into darkness | Weeks
Readout bias | Pointing into darkness | Months
Bad pixels | Pointing into darkness | Weeks
Noise level | Pointing into darkness | Months
Polarization sensitivity | Role motion, pointing to various altitudes | Years
Stray light | Limb scanning from brighter lower altitudes to darkness | Years
Point spread function | Pointing at stars | Years
Relative spectral calibration | Pointing at moon, Pointing to lower altitudes. | Years
Absolute calibration | Pointing to lower atmosphere, Pointing at moon | Months
Instrument pointing | Pointing at stars | Months